## Sheet1
Data request for | Horizon West Transmission
Date sent | 2020-02-26
Response requested by | 2020-03-02
Should you need clarification on this data request, please contact Ryan Arba (ryan.arba@cpuc.ca.gov)
This data request shall be completed according to the process outlined in Resolution WSD 001. In particular: 1. Any discovery or data requests and responses shall be posted on the responding electrical corporation’s website in an easy to follow format that identifies what the discovery was about, what the responses were about, and links to any documents produced. The electrical corporations shall update the website weekly, with an e-mail to the service list of R.18-10-007 with the relevant link and discussion of what is new on the website. The website (or portion of webpage) shall be labeled “2020 Wildfire Mitigation Plan Discovery/Data requests” for each electrical corporation. 2. Electrical corporations must copy any data requests received from or responses to Commission staff to the e-mail address wildfiresafetydivision@cpuc.ca.gov. Requests from staff to the electrical corporations may also come from this address or from individual e-mail addresses. 3. Each electrical corporation shall send to wildfiresafetydivision@cpuc.ca.gov the name of their single point of contact for all data requests and response matters for Commission staff use. 4. Electrical corporations must respond to all data and discovery requests within 3 business days of the request. Both requests and responses shall be sent by e-mail. Exceptions to the 3-business-day requirement will require a letter to the Division Director and a strong showing of the specific reason for the delay. In your response to each data request please specify the relevant item index being responded to, found here in column B. 5. Parties conducting discovery must first analyze the significant data that will be submitted with 2020 WMPs along with the Supplemental Data Request.2 Entities submitting data requests should avoid submissions where such information is contained in the electrical corporations’ WMP filings. 6. All documents the electrical corporation references in its WMP plans shall be collected on the above website in an easy to follow format, with notice to the service list of the location of such documents. This will be in addition to the posting of WMPs on the Commission’s website as required by Pub. Util. Code § 8386(d).
A. Item Index [For CPUC tracking purposes. Please reference this item index with the response provided.] | B. Request Type | C. Relevant section of WMP (if applicable) | D. Relevant question in Maturity Survey (if applicable) | E. Relevant meeting or call (if applicable) | F. Specific Data request | G. Format in which the data is to be provided
HWT-43879-​C-177 | Request to submit missing information in WMP | 5.3.1 Risk assessment and mapping | NA | NA | The numbers presented in the first row (undergrounding of 115 ft of line) don't add up. The cost for the initiative is indicated as $1.7M, and the area to be treated is identified as 0.2 miles, however the spend/mile remains constant at $1.7M. Based on these values, the "Spend/treated line mile" value should be $85M. Please explain. | Table, Narrative
HWT-43879-​D-178 | Request to submit missing information in WMP | 3.1 Recent weather patterns, last 5 years | NA | NA | Although HWT will not be operational until March 2020, HWT should still be aware of known local conditions. Provide Table 10 with filled inputs based off of any publicly available data. | Table, Narrative
HWT-43879-​D-179 | Request to submit missing information in WMP | 5.3.2 Situational awareness and forecasting | NA | NA | For any cells in Table 22 filled with "N/A," explain why such is not applicable. | Table, Narrative
HWT-43879-​E-180 | Request to submit missing information in WMP | 5.3.9 Emergency planning and preparedness | NA | NA | 1) For Table 29, provide rows that align with any emergency preparedness measures HWT performs. 2) Provide an updated version of Table 29 populated with "N/A" or zero, as applicable, instead of blank. | Table, Narrative
HWT-43879-​E-181 | Request to submit missing information in WMP | 5.3.10 Stakeholder cooperation and community engagement | NA | NA | Provide HWT's Stakeholder Cooperation and Community Engagement program supporting documents. | Table, Narrative
HWT-43879-​E-182 | Request to submit missing information in WMP | 5.3.10 Stakeholder cooperation and community engagement | NA | NA | 1) For Table 30, provide rows that align with any community engagement and stakeholder processes that HWT performs. 2) Provide an updated version of Table 30 populated with "N/A" or zero, as applicable, instead of blank. | Table, Narrative
HWT-43879-​E-183 | Request to submit missing information in WMP |  | NA | NA | What are HWT's procedures and plans in order to restore power in the event of a wildfire? | Table, Narrative
HWT-43879-​E-184 | Request to submit missing information in WMP |  | NA | NA | How is HWT's WMP consistent pursuant to its emergency preparedness plan prepared pursuant to Section 768.6? | Table, Narrative
HWT-43879-​I-185 | Request to submit missing information in WMP | 5.3.5 Vegetation management and inspections | NA | NA | 1) For Table 25, provide rows that align with any vegetation management and inspections HWT performs. 2) Provide an updated version of Table 25 populated with "N/A" or zero, as applicable, instead of blank. | Table, Narrative
HWT-43879-​I-186 | Request to submit missing information in WMP | 5.3.5 Vegetation management and inspections | NA | NA | 1) Provide HWT's current vegetation plan and inspectiosn procedures and supporting documents. 2) Provide how HWT anticipates to monitor and change its vegetation management plan as needed in regards to reducing wildfire risk. | Table, Narrative
HWT-43879-​J-187 | Request to submit missing information in WMP | 5.5 Planning for workforce and other limited resources | NA | NA | Should submit a narrative that describes its plan for its workforce and acquiring other limited resources | Narrative
HWT-43879-​J-188 | Request to submit missing information in WMP | 5.6.2 Protocols on Public Safety Power Shut-off | NA | NA | PSPS protocols should still be developed and submitted in the event that its transmission infrastructure must be deenergized. | Table, Narrative
HWT-43879-​G-189 | Request to submit missing information in WMP | 3.4.2 Planned additions, removal, and upgrade of utility equipment by end of 3-year plan term | NA | NA | Horizon West Transmision should provide documentation that indicates if NA entries in Tables 16 and 17 are "not applicable" or "not available". In addition, a rationale for why data is reported as NA should be provided (i.e. unknown, difficult to estimate). | Table, Narrative
HWT-43879-​G-190 | Request to submit missing information in WMP | 5.6.1 Planned utility infrastructure construction and upgrades | NA | NA | Horizon West has no operational facilities but should be asked to provide data for this table as it becomes available after the first facility becomes operational in March 2020. | Table, Narrative
HWT-43879-​G-191 | Request to submit missing information in WMP | 5.3.3 Grid design and system hardening | NA | NA | HWT should attempt to estimate risk spend efficiency for its planned system upgrades. | Table, Narrative
HWT-43879-Z -192 | Request to submit missing information in WMP | NA | NA | NA | In future data submissions, submit all GIS data with metadata that follows the Federal Geographic Data Committee (FGDC) standards. Use the U.S. Geological Survey (USGS) Metadata Wizard to comply with FGDC standards. According to the USGS: "The Metadata Wizard is a user-friendly desktop application for creating, editing, and validating metadata that conforms to the Content Standard for Digital Geospatial Metadata (CSDGM) version 2.0. The Federal Geographic Data Committee (FGDC) has authored and endorsed this metadata standard as well as other standards. Metadata provides information about a data set, allowing data users to understand and appropriately use the data in different contexts. Metadata is crucial to support searchable information about data that otherwise is not directly incorporated within data and therefore undiscoverable. Metadata in its most basic form includes information about the data’s origin, creators, accuracy, availability, and distribution. Metadata is necessary for the appropriate interpretation and reuse of the data, and importantly provides the necessary definitions of data content." The USGS also notes that: "The MetadataWizard is a useful tool designed to facilitate FGDC metadata creation for spatial and non-spatial data sets. It is a cross-platform desktop application built using an open-source Python architecture." Visit the links below to interpret and install the USGS Metadata Wizard: - USGS summary of Wizard: https://www.usgs.gov/software/metadata-wizard-20 - Installation of Wizard: https://github.com/usgs/fort-pymdwizard/releases/download/v2.0.6/metadatawizard_win64x_2.0.6.exe - User guide for Wizard: https://usgs.github.io/fort-pymdwizard/ FGDC-compliant metadata will include but not be limited to the following (which provide some examples of items that comprise metadata): points of contact, credits, abstract, purpose, publication date, data collection methodologies and processing steps, and definitions for fields and field values. As part of defining fields and values, be sure to identify measurement units for quantitative values and define all number codes, acronyms, etc. For processing steps, mention equipment and methods used to collect data and state the timeframe(s) of data collection. | GIS file
HWT-43879-Z -193 | Request to submit missing information in WMP | 6.4: Current baseline state of service territory and utility equipment | NA | NA | Submit any additional GIS data, including a line for the location of the one-mile underground 230 kV transmission line that leads from the Suncrest facility to San Diego Gas and Electric's Suncrest substation. | GIS file
HWT-43879-L -194 | Request to submit missing information in WMP | 1 | NA | NA | Guideline 1 requests an accounting of responsibilities of the responsible person(s) executing the WMP including 2) Program owners specific to each component of the plan. Your WMP includes a table of division/departments/offices overseeing each component of the plan, not the persons or primary contacts leading those divisions/departments/offices. Please resubmit the Table 32 of Program Owners in Appendix 1 (pages 89-90) to include the names of individuals for each component listed. | Table
HWT-43879-L -195 | Request to submit missing information in WMP | 5.2 | NA | NA | Section 5.2 of the WMP describes requirements for Plan Implementation, including elements required by statute (8386) 19 (a) a process “Monitor and audit the implementation of the plans, b) to “Identify any deficiencies in the plan or the plan’s implementation, and correct those deficiencies,” and (c ) “Monitor and audit the effectiveness of electrical line and equipment inspections, including inspections performed by contractors, carried out under the plan and other applicable statutes and commission rules.” Horizon’s description of these elements (pages 45-46) contains and Error coding and provides little explanation. Please resubmit the text of this section with corrections and additional information as to the process for identifying and correcting deficiencies and for the monitoring and quality assurance program for line/equipment inspections, and the utility’s program for oversight of inspections performed by non-utility contractors. | Table, Narrative
x | x | x | x | x |  | x