## Narrative - Responses
Data request for | Horizon West Transmission
Date sent | 2020-02-26
Response requested by | 2020-03-06
Should you need clarification on this data request, please contact Ryan Arba (ryan.arba@cpuc.ca.gov)
This data request shall be completed according to the process outlined in Resolution WSD 001. In particular: 1. Any discovery or data requests and responses shall be posted on the responding electrical corporation’s website in an easy to follow format that identifies what the discovery was about, what the responses were about, and links to any documents produced. The electrical corporations shall update the website weekly, with an e-mail to the service list of R.18-10-007 with the relevant link and discussion of what is new on the website. The website (or portion of webpage) shall be labeled “2020 Wildfire Mitigation Plan Discovery/Data requests” for each electrical corporation. 2. Electrical corporations must copy any data requests received from or responses to Commission staff to the e-mail address wildfiresafetydivision@cpuc.ca.gov. Requests from staff to the electrical corporations may also come from this address or from individual e-mail addresses. 3. Each electrical corporation shall send to wildfiresafetydivision@cpuc.ca.gov the name of their single point of contact for all data requests and response matters for Commission staff use. 4. Electrical corporations must respond to all data and discovery requests within 3 business days of the request. Both requests and responses shall be sent by e-mail. Exceptions to the 3-business-day requirement will require a letter to the Division Director and a strong showing of the specific reason for the delay. In your response to each data request please specify the relevant item index being responded to, found here in column B. 5. Parties conducting discovery must first analyze the significant data that will be submitted with 2020 WMPs along with the Supplemental Data Request.2 Entities submitting data requests should avoid submissions where such information is contained in the electrical corporations’ WMP filings. 6. All documents the electrical corporation references in its WMP plans shall be collected on the above website in an easy to follow format, with notice to the service list of the location of such documents. This will be in addition to the posting of WMPs on the Commission’s website as required by Pub. Util. Code § 8386(d).
A. Item Index [For CPUC tracking purposes. Please reference this item index with the response provided.] | B. Request Type | C. Relevant section of WMP (if applicable) | D. Relevant question in Maturity Survey (if applicable) | E. Relevant meeting or call (if applicable) | F. Specific Data request | G. Format in which the data is to be provided | HWT Response
HWT-43879-​C-177 | Request to submit missing information in WMP | 5.3.1 Risk assessment and mapping | NA | NA | The numbers presented in the first row (undergrounding of 115 ft of line) don't add up. The cost for the initiative is indicated as $1.7M, and the area to be treated is identified as 0.2 miles, however the spend/mile remains constant at $1.7M. Based on these values, the "Spend/treated line mile" value should be $85M. Please explain. | Table, Narrative | HWT interpreted the intent of the Spend/Treated line mile column to be to capture the per mile cost of initiatives for which the treatment area is more than one mile. Since the planned measure treatment idenitified is for less than than one mile, HWT provided the expected total cost of the initiative measure in the per mile spend column. Not all inputs to the total spend estimate are on a per mile basis, and thus the total cost proportion is not linear, and extrapolating this number to a per mile basis on a short distance would result in an over-inflated per mile number (e.g., $85MM/mile).
HWT-43879-​D-178 | Request to submit missing information in WMP | 3.1 Recent weather patterns, last 5 years | NA | NA | Although HWT will not be operational until March 2020, HWT should still be aware of known local conditions. Provide Table 10 with filled inputs based off of any publicly available data. | Table, Narrative | HWT is providing a revised Table 10 in tab "HWT-43879-​D-178" with additional publicly available data for 2019, when the site was under construction, and calculating the 5-yr average to be the same as data in 2019 (only applicable year). The 5-yr average will be updated annually as more applicable data becomes available in future years. Because HWT began construction in 2019, it did not have any circuit miles prior to 2019. Thus, if HWT were to calculate the values of the requested metrics, the value for all cells prior to 2019 would be zero, regardless of historical weather data (technically, this should also be the case for 2019 since the line was not energized in 2019, but HWT is trying to comply to the best extent possible with the spirit and intent of the data being requested). Consequently, HWT considers it more helpful to leave pre-2019 cells as N/A instead of making them zero, to avoid artificially skewing the 5-yr average calculation to a lower number that would not be accurate or meaningful for future analysis.
HWT-43879-​D-179 | Request to submit missing information in WMP | 5.3.2 Situational awareness and forecasting | NA | NA | For any cells in Table 22 filled with "N/A," explain why such is not applicable. | Table, Narrative | HWT is providing an updated Table 22 in tab "HWT-43879-​D-179", replacing N/A with data in applicable cells. N/A responses kept in cells where one of more of the following apply: - Initiative is not implemented on a per line mile basis - No measure being implemented in that year - Pertinent to FERC-regulated transmission - Initiative is aimed at improving detection and awareness, not reducing probability - No other risk driver is being addressed - Existing, not new
HWT-43879-​E-180 | Request to submit missing information in WMP | 5.3.9 Emergency planning and preparedness | NA | NA | 1) For Table 29, provide rows that align with any emergency preparedness measures HWT performs. 2) Provide an updated version of Table 29 populated with "N/A" or zero, as applicable, instead of blank. | Table, Narrative | HWT is providing an updated Table 29 in tab "HWT-43879-​E-180" with "N/A" or zero, instead of blanks as applicable
HWT-43879-​E-181 | Request to submit missing information in WMP | 5.3.10 Stakeholder cooperation and community engagement | NA | NA | Provide HWT's Stakeholder Cooperation and Community Engagement program supporting documents. | Table, Narrative | As a transmission-only utility, HWT does not serve end-use customers or have a traditional service territory. Therefore, HWT does not anticipate providing customer support during an emergency situation. HWT has a protocol for communication and coordination with its primary stakeholders in an emergency situation (e.g., CAISO, Interconnecting Transmission Owners, local fire agencies and first responders, and HWT’s emergency response support team) as outlined by its Emergency Response Protocol, which is described in section 5.3.9 of HWT's 2020 WMP and in HWT's Emergency Operations Plan for its Suncrest SVC facility, which is being provided as a confidential attachment to this response. HWT requests that its Emergency Operations Plan document be kept confidential.
HWT-43879-​E-182 | Request to submit missing information in WMP | 5.3.10 Stakeholder cooperation and community engagement | NA | NA | 1) For Table 30, provide rows that align with any community engagement and stakeholder processes that HWT performs. 2) Provide an updated version of Table 30 populated with "N/A" or zero, as applicable, instead of blank. | Table, Narrative | HWT is providing an updated Table 30 in tab "HWT-43879-​E-182" with "N/A" or zero, instead of blanks as applicable
HWT-43879-​E-183 | Request to submit missing information in WMP |  | NA | NA | What are HWT's procedures and plans in order to restore power in the event of a wildfire? | Table, Narrative | As a transmission-only utility, HWT does not serve end-use customers or have a traditional service territory. HWT's plan to restore power in the event of a wildfire are outlined in its Emergency Operations Plan, which is described in section 5.3.9 of HWT's 2020 WMP and in HWT's Emergency Operations Plan for its Suncrest SVC facility, which is being provided as a confidential attachment to this response. HWT requests that its Emergency Operations Plan document be kept confidential.
HWT-43879-​E-184 | Request to submit missing information in WMP |  | NA | NA | How is HWT's WMP consistent pursuant to its emergency preparedness plan prepared pursuant to Section 768.6? | Table, Narrative | HWT's WMP is fully consistent with HWT's Emergency Operations Plan through its Emergency Response Protocol, by which HWT is focused on operating its facilities in the safest and most reliable manner. Wildfire risk is a key consideration in HWT's assessment of potential unsafe conditions.
HWT-43879-​I-185 | Request to submit missing information in WMP | 5.3.5 Vegetation management and inspections | NA | NA | 1) For Table 25, provide rows that align with any vegetation management and inspections HWT performs. 2) Provide an updated version of Table 25 populated with "N/A" or zero, as applicable, instead of blank. | Table, Narrative | HWT is providing an updated Table 25 in tab "HWT-43879-​E-185" with "N/A" or zero, instead of blanks as applicable.
HWT-43879-​I-186 | Request to submit missing information in WMP | 5.3.5 Vegetation management and inspections | NA | NA | 1) Provide HWT's current vegetation plan and inspection procedures and supporting documents. 2) Provide how HWT anticipates to monitor and change its vegetation management plan as needed in regards to reducing wildfire risk. | Table, Narrative | HWT's vegetation plan (Wildlife and Vegetation) and Inspection (Wildfire Mitigation Condition Assessment) procedures are being provided as a confidential attachment to this response. How HWT anticipates to monitor and change these plans is described in section 5.3.5 of its 2020 WMP. HWT requests that its Wildlife and Vegetation and Wildfire Mitigation Condition Assessment documents be kept confidential. Supporting documents (i.e., completed inspection records) are not yet available as HWT's first facility is now becoming operational and has not yet been through its first inspection. This data will be available for the 2021 WMP submission.
HWT-43879-​J-187 | Request to submit missing information in WMP | 5.5 Planning for workforce and other limited resources | NA | NA | Should submit a narrative that describes its plan for its workforce and acquiring other limited resources | Narrative | HWT's narrative of its plan for workforce and acquiring other limited resources is provided in section 5.5 of its 2020 WMP.
HWT-43879-​J-188 | Request to submit missing information in WMP | 5.6.2 Protocols on Public Safety Power Shut-off | NA | NA | PSPS protocols should still be developed and submitted in the event that its transmission infrastructure must be deenergized. | Table, Narrative | HWT's PSPS protocol is described in detail in section 4.4 of its 2020 WMP and in HWT's Emergency Operations Plan for its Suncrest SVC facility, which is being provided as a separate confidential attachment to HWT's response. HWT requests that its Emergency Operations Plan document be kept confidential.
HWT-43879-​G-189 | Request to submit missing information in WMP | 3.4.2 Planned additions, removal, and upgrade of utility equipment by end of 3-year plan term | NA | NA | Horizon West Transmision should provide documentation that indicates if NA entries in Tables 16 and 17 are "not applicable" or "not available". In addition, a rationale for why data is reported as NA should be provided (i.e. unknown, difficult to estimate). | Table, Narrative | NA entries in Tables 16 and 17 are "not applicable" since at the time of this 2020 WMP submission, HWT does not own existing or planned facilities in these areas for the specificed 3 year timeframe (through 2023).
HWT-43879-​G-190 | Request to submit missing information in WMP | 5.6.1 Planned utility infrastructure construction and upgrades | NA | NA | Horizon West has no operational facilities but should be asked to provide data for this table as it becomes available after the first facility becomes operational in March 2020. | Table, Narrative | HWT assumes this item relates to Table 31. If so, HWT agrees and plans to provide this data in its 2021 WMP submission, once operational data for its Suncrest SVC facility is available.
HWT-43879-​G-191 | Request to submit missing information in WMP | 5.3.3 Grid design and system hardening | NA | NA | HWT should attempt to estimate risk spend efficiency for its planned system upgrades. | Table, Narrative | HWT is a transmission-only utlity whose costs are regulated by FERC. HWT does not use the RAMP method for assessing risk, nor its metric of risk spend efficiency. Instead, HWT uses the FMEA methodology to assess and mitigate risk.
HWT-43879-Z -192 | Request to submit missing information in WMP | NA | NA | NA | In future data submissions, submit all GIS data with metadata that follows the Federal Geographic Data Committee (FGDC) standards. Use the U.S. Geological Survey (USGS) Metadata Wizard to comply with FGDC standards. According to the USGS: "The Metadata Wizard is a user-friendly desktop application for creating, editing, and validating metadata that conforms to the Content Standard for Digital Geospatial Metadata (CSDGM) version 2.0. The Federal Geographic Data Committee (FGDC) has authored and endorsed this metadata standard as well as other standards. Metadata provides information about a data set, allowing data users to understand and appropriately use the data in different contexts. Metadata is crucial to support searchable information about data that otherwise is not directly incorporated within data and therefore undiscoverable. Metadata in its most basic form includes information about the data’s origin, creators, accuracy, availability, and distribution. Metadata is necessary for the appropriate interpretation and reuse of the data, and importantly provides the necessary definitions of data content." The USGS also notes that: "The MetadataWizard is a useful tool designed to facilitate FGDC metadata creation for spatial and non-spatial data sets. It is a cross-platform desktop application built using an open-source Python architecture." Visit the links below to interpret and install the USGS Metadata Wizard: - USGS summary of Wizard: https://www.usgs.gov/software/metadata-wizard-20 - Installation of Wizard: https://github.com/usgs/fort-pymdwizard/releases/download/v2.0.6/metadatawizard_win64x_2.0.6.exe - User guide for Wizard: https://usgs.github.io/fort-pymdwizard/ FGDC-compliant metadata will include but not be limited to the following (which provide some examples of items that comprise metadata): points of contact, credits, abstract, purpose, publication date, data collection methodologies and processing steps, and definitions for fields and field values. As part of defining fields and values, be sure to identify measurement units for quantitative values and define all number codes, acronyms, etc. For processing steps, mention equipment and methods used to collect data and state the timeframe(s) of data collection. | GIS file | HWT appreciates the opportunity to provide more detailed GIS data and will look into learning and using the Metadata Wizard in future submissions.
HWT-43879-Z -193 | Request to submit missing information in WMP | 6.4: Current baseline state of service territory and utility equipment | NA | NA | Submit any additional GIS data, including a line for the location of the one-mile underground 230 kV transmission line that leads from the Suncrest facility to San Diego Gas and Electric's Suncrest substation. | GIS file | HWT is providing an updated GIS data .zip file (including the location of the one-mile underground 230 kV transmission line from the Suncrest SVC facility to San Diego Gas and Electric's Suncrest substation) in the "Embedded Documents" tab. HWT requests that its GIS files be kept confidential.
HWT-43879-L -194 | Request to submit missing information in WMP | 1 | NA | NA | Guideline 1 requests an accounting of responsibilities of the responsible person(s) executing the WMP including 2) Program owners specific to each component of the plan. Your WMP includes a table of division/departments/offices overseeing each component of the plan, not the persons or primary contacts leading those divisions/departments/offices. Please resubmit the Table 32 of Program Owners in Appendix 1 (pages 89-90) to include the names of individuals for each component listed. | Table | HWT is providing an updated Table 32 being provided in tab "HWT-43879-L -194" with names of current individuals responsible for each component.
HWT-43879-L -195 | Request to submit missing information in WMP | 5.2 | NA | NA | Section 5.2 of the WMP describes requirements for Plan Implementation, including elements required by statute (8386) 19 (a) a process “Monitor and audit the implementation of the plans, b) to “Identify any deficiencies in the plan or the plan’s implementation, and correct those deficiencies,” and (c ) “Monitor and audit the effectiveness of electrical line and equipment inspections, including inspections performed by contractors, carried out under the plan and other applicable statutes and commission rules.” Horizon’s description of these elements (pages 45-46) contains and Error coding and provides little explanation. Please resubmit the text of this section with corrections and additional information as to the process for identifying and correcting deficiencies and for the monitoring and quality assurance program for line/equipment inspections, and the utility’s program for oversight of inspections performed by non-utility contractors. | Table, Narrative | Corrected text was submitted in the amended WMP sent via email to CPUC-WSD and re-served and posted on HWT's website on 2/18/20. The amended WMP was also posted to Kiteworks.
x | x | x | x | x |  | x

## HWT-43879-​D-178
Table 10
Weather patterns, last 5 years
Weather measurement | 2015 | 2016 | 2017 | 2018 | 2019 | 5-year | Unit(s)
historical average
Red Flag Warning days | N/A | N/A | N/A | N/A | 0.08 | 0.08 | RFW circuit mile days per year
Days rated at the top 30% of proprietary fire potential index or similar fire risk index measure | N/A | N/A | N/A | N/A | 0.54 | 0.54 | Circuit mile days where proprietary measure rated above top 30% threshold[1] per year
95th percentile wind conditions | N/A | N/A | N/A | N/A | 0.09 | 0.09 | Circuit mile days with wind gusts over 95th percentile historical (meaning the prior 10 years, 2005-2014) conditions per year
99th percentile wind conditions | N/A | N/A | N/A | N/A | 0.03 | 0.03 | Circuit mile days with wind gusts over 99th percentile historical (meaning the prior 10 years, 2005-2014) conditions per year

## HWT-43879-​D-179
Table 22
Situational awareness and forecasting
Initiative activity | Year | Total per-initiative spend | Line miles to be treated | Spend/ treated line mile | Ignition probability drivers targeted | Risk reduction | Risk-spend efficiency | Other risk drivers addressed | Existing/ new | Existing: What proceeding has reviewed program | If new: Memorandum account | In / exceeding compliance with regulations | Cite associated rule | Comments
Advanced weather monitoring, weather stations and OH line/pole cameras | 2019 plan | 0 | N/A | N/A | N/A | N/A | N/A | N/A | Existing | 2019 WMP | N/A | Meets and exceeds
| 2019 actual | 0 | N/A | N/A | N/A | N/A | N/A | N/A | Existing | 2019 WMP | N/A | Meets and exceeds
| 2020 | $150k | N/A | N/A | Detect Ignition Early | 50% | N/A | Reliability | Existing | 2019 WMP | N/A | Meets and exceeds
| 2021 | 0 | N/A | N/A | N/A | N/A | N/A | N/A | Existing | 2019 WMP | N/A | Meets and exceeds
| 2022 | 0 | N/A | N/A | N/A | N/A | N/A | N/A | Existing | 2019 WMP | N/A | Meets and exceeds
| 2020-2022 plan total | $150k | N/A | N/A | N/A | N/A | N/A | N/A | Existing | 2019 WMP | N/A | Meets and exceeds

## HWT-43879-​E-180
Table 29
Emergency planning and preparedness
Initiative activity | Year | Total per-initiative spend | Line miles to be treated | Spend/ treated line mile | Ignition probability drivers targeted | Risk reduction | Risk-spend efficiency | Other risk drivers addressed | Existing/ new | Existing: What proceeding has reviewed program | If new: Memorandum account | In / exceeding compliance with regulations | Cite associated rule | Comments
Emergency Preparednes and Planning | 2019 plan | NA | NA | NA | NA | Delay in response | NA | NA | Existing | 2019 WMP | NA | Meets and exceeds
| 2019 actual | NA | NA | NA | NA | Delay in response | NA | NA | Existing | 2019 WMP | NA | Meets and exceeds
| 2020 | NA | NA | NA | NA | Delay in response | NA | NA | Existing | 2019 WMP | NA | Meets and exceeds
| 2021 | NA | NA | NA | NA | Delay in response | NA | NA | Existing | 2019 WMP | NA | Meets and exceeds
| 2022 | NA | NA | NA | NA | Delay in response | NA | NA | Existing | 2019 WMP | NA | Meets and exceeds
| 2020-2022 plan total | NA | NA | NA | NA | Delay in response | NA | NA | Existing | 2019 WMP | NA | Meets and exceeds

## HWT-43879-​E-182
Table 30
Stakeholder cooperation and community engagement
Initiative activity | Year | Total per-initiative spend | Line miles to be treated | Spend/ treated line mile | Ignition probability drivers targeted | Risk reduction | Risk-spend efficiency | Other risk drivers addressed | Existing/ new | Existing: What proceeding has | If new: Memorandum account | In / exceeding compliance with regulations | Cite associated rule | Comments
reviewed program
NA | 2019 plan | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
| 2019 actual | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
| 2020 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
| 2021 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
| 2022 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
| 2020-2022 plan total | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA

## HWT-43879-​E-185
Table 25
Vegetation management and inspections
Initiative activity | Year | Total per-initiative spend | Line miles to be treated | Spend/ treated line mile | Ignition probability drivers targeted | Risk reduction | Risk-spend efficiency | Other risk drivers addressed | Existing/ new | Existing: What proceeding has | If new: Memorandum account | In / exceeding compliance with regulations | Cite associated rule | Comments
reviewed program
NA | 2019 plan | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
| 2019 actual | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
| 2020 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
| 2021 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
| 2022 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
| 2020-2022 plan total | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA

## HWT-43879-L -194
Table 32 – WMP Roles and Responsibilities
Position / Roles and Responsibilities | Specific WMP Sections and Subsections
President – Eric Gleason • Overall Executive Oversight • WMP Approval • Emergency contact • Stakeholder Engagement – Senior Level • Communications with CAISO – Senior Level | 1, 1.1, 4, 4.4, 5, 5.1, 5.2.5, 5.6.2
Senior Director of Operations – John Hawkins • WMP Execution • Operations Plan • WMP Development and Updates o Changes of facilities o New facilities o New regulations o Climate change effects • WMP Compliance Implementation • WMP Deficiency Resolution • WMP Metrics Development • WMP Data Governance • WMP Knowledge Management | 1, 2, 2.1, 2.4, 2.5, 2.7, 3, 3.1, 3.4, 4, 4.1, 4.1.1-4, 4.2, 4.2.1, 4.3, 4.4, 5, 5.1, 5.2, 5.2.2, 5.2.4, 5.2.5, 5.3, 5.3.1-11, 5.4, 5.4.1-3, 5.5. 5.6, 5.6.1, 6, 6.1-5, 7, 8
Senior Attorney – Tracy Davis • Communications with CPUC • WMP Compliance Reporting • WMP review | 1
Operations Lead – Israel Zapata • Communications with CAISO o Operating Plans o Maintenance • Operations Plan • Inspection Plan and Conduct o Monitoring o Auditing o Training • Maintenance Plan and Conduct o Monitoring o Auditing o Training • Vegetative Fuel Abatement • Hot Work Protocols and Procedures • Site Safety Officer • Emergency Response Plan and Training • Fire Safety and Protection Training • WMP On-site Compliance Assurance • WMP Metrics Tracking • Plan performance | 1, 2.2, 2.3, 2.5. 2.6, 3.2, 3.3. 3.4.1, 3.4.2, 3.4.3, 5.2.1, 5.2.2, 5.2.3, 5.2.5
HWT System Operator – Jerry Willms • System Operation • Real-Time Condition Monitoring o Weather o RFW Days o Bulk Electric System Conditions o Active Fires • Communications with CAISO – Real Time Operations • Initial Emergency Response o Controlling Actions o System Shutdown | 1, 5.2.5